## Slide 1
Computational Optics Group, University of Tsukuba
Digital refocus by depth-encoded synthetic aperture in optical coherence tomography
Lida Zhu

## Slide 2
Introduction
[3] Kumar A, Drexler W, Leitgeb R A., Optics express, 21(9): 10850-10866, (2013)
[2] Shemonski N D, South F A, Liu Y Z, et al., Nature photonics, 9(7): 440-443, (2015)
[1] Ralston T S, Marks D L, Carney P S, et al., Nature Physics, 3(2): 129-134, (2007)
OCT measurement suffers from the trade-off between lateral resolution and penetration depth.
Hardware solutions (Bessel beam) increase the complexity.
Digital refocusing does not need system modification, such as interferometric synthetic aperture (ISAM) [1], computational AO [2], sub-aperture correlation [3]. However, they requires phase stability in A-scan acquisition.
Synthetic aperture OCT is not affected by phase instability of each A-scan.

## Slide 3
Mo J, de Groot M, de Boer J F., Optics express, 23(4): 4935-4945, (2015)
PP: Annular phase plate
Depth-encoded synthetic aperture
Portion with light retardation material
Transparent

## Slide 4
In-focus
Out-of-focus
Original wavefront
Acquired wavefront altered by phase plate
Corrected wavefront
Mo, J., de Groot, M., & de Boer, J. F., Optics express, 21(8), 10048-10061, (2013).
Approximate phase difference caused by defocus

## Slide 5
Delay from phase plate
Local wavefront variation by defocus
(1) square absolute summation over certain depth range
Bo E, Ge X, Wang L, et al., Optics express, 26(2): 772-780, (2018)
Optimization metric:
(2) square absolute summation of each en-face image
Refocusing

## Slide 6
Phantom images
(Focus)

## Slide 7
OCT signal intensity could be significantly reduced by phase plate
Does not require phase stabilization at each A-scan.
Depth-encoded synthetic aperture OCT:

## Slide 8
Bo E, Luo Y, Chen S, et al., Optica, 4(7): 701-706, (2017)
Multiple aperture synthesis
MCL: microcylindrical lens
More high spatial frequency signals can be synthesized
Generate a larger aperture and an extended DOF
Sub-apertures at pupil plane
Focused beams

## Slide 9
Fresh grape
Rat adipocyte
(ex vivo)
Bo, E., Ge, X., et al., Optics express, 26(2), 772-780, (2018)

## Slide 10
Requires high mechanical stability of system
Limits the imaging speed
Does not require phase stabilization at A-scans
Without signal loss due to coupling
Multiple aperture synthesis OCT:

## Slide 11
Parallel multiple aperture synthesis
Bo E, Ge X, et al., Applied optics, 57(13): 3556-3560, (2018)
MASE
Dielectric film (T/R 60:40)
100% reflective film
40%
36%

## Slide 12
Configuration is simple, easy to be implemented
Fiber-based system without mechanical set-up is stable and flexible
Signal loss of about 24%
Signal mixture of different illumination / detection apertures
Parallel multiple aperture synthesis OCT:

## Slide 13
Amplitude division aperture synthesis
Bo E, Ge X, et al., PhotoniX, 1(1): 1-12, (2020)

## Slide 14
Scalable imaging performance
Adjust distance between CBD1 and CBD2
Control group
2 apertures
3 apertures
9%
25%
57%
Resolution improvement
0%

## Slide 15
Insensitive to motion-induced phase variation
Correction performance is scalable
Imaging depth is sacrificed
Amplitude division aperture synthesis OCT:

## Slide 16
Depth-encoded synthetic aperture OCT
No need of phase stabilization for each A-scan
*Sacrifice the imaging depth range
*Aberration cannot be precisely corrected

## Slide 17
Thanks